**GAW180HEA**

180 Amps DC, 3KW/120V AC, Honda GX340

Multiquip's welder/generators are engineered with a new permanent magnet alternator plus features typically found only on much larger welders.

* Arc force control allows the operator to fine tune DC current during low voltage welding conditions and helps prevent electrodes froms sticking during short arc length welding.
* Ideal for job site and remote-area service applications
* Produces 50-180 amps for DC welding, 3kW output to power AC tools.
* Operator can draw AC power and weld simultaneously
* Honda GX340 gasoline engine
* Permanent magnet alternator-significantly reduces overall weight compared to other welders in its class
* Full panel GFCI protection - OSHA and NEC compliant

[http://www.multiquip.com/multiquip/images/buttons/performance-1.jpghttp://www.multiquip.com/multiquip/images/buttons/options-1.jpg](http://www.multiquip.com/multiquip/GAW180HE.htm#no-jump)

|  |  |  |
| --- | --- | --- |
| Unit Specifications | | |
| DC Voltage | CC: 26.8 V | |
| DC Current | CC: 180A | |
| Current Range | 50-180 A | |
| Max Duty Cycle w/ Full Amps Availible | 50% @180 A | |
| Welding Processes | SMAW FCAW GTAW ACAC | |
| Fuel Tank Capacity | 3.7 gal | 16.8 L |
| Fuel Consumption at Rated Load | 0.93 gph | |

|  |  |
| --- | --- |
| Generator Specifications | |
| AC Power Output (Single Phase) | 3 kW |
| Cycle | 60 Hz |
| Voltage | 120 V |
| Amperage | 25 A |
| Voltage Regulation | 3 % |
| Receptacles |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Dimensions & Weights | | | | | |
| Overall Length | | 27.5 in | | 69.85 mm | |
| Overall Width | | 22 in | | 55.88 mm | |
| Overall Height | | 23.75 in | | 60.3 mm | |
| Shipping Dimensions | | 28.5 x 23 x 28 in 72.4 x 58.4 x 71.1 mm | | | |
| Operating Weight | | 225 lb | | 102.3 kg | |
| Shipping Weight | | 239 lb | | 108.6 kg | |
| Engine Specifications | | | | |
| Engine Make/Model | Honda GX-340 | | | |
| Start Method | Electric/Recoil | | | |
| Engine Power | 9.5 HP | | 7.1 kW | |
| Engine RPM | 3600 | | | |
| Fuel Type | Gasoline | | | |

Notice: Features and equipment specifications are subject to change without notice.